|  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| [http://counter.rambler.ru/top100.cnt?949625](https://translate.googleusercontent.com/translate_c?depth=1&hl=el&rurl=translate.google.gr&sl=ru&tl=en&u=http://top100.rambler.ru/top100/&usg=ALkJrhiCKS2-2570N7pqAL92nvchO_uppg) | Management System AZS   |  | | --- | | http://www.gasnet.ru/i/spacer.gif http://www.gasnet.ru/i/h_line_gray.gif | | [GasNet - automation system network stations](https://translate.googleusercontent.com/translate_c?depth=1&hl=el&rurl=translate.google.gr&sl=ru&tl=en&u=http://www.gasnet.ru/gasnet.html&usg=ALkJrhhreYKpi5KIe6l0i5B_tqGO20VVqw) | | http://www.gasnet.ru/i/h_line_gray.gif http://www.gasnet.ru/i/spacer.gif | | http://www.gasnet.ru/i/str_s_red.gif **[GasKit](https://translate.googleusercontent.com/translate_c?depth=1&hl=el&rurl=translate.google.gr&sl=ru&tl=en&u=http://www.gasnet.ru/gk.html&usg=ALkJrhg7chK3cXa6LMbPifxoTFkgaPYS0A)**  http://www.gasnet.ru/i/spacer.gif [Software modules](https://translate.googleusercontent.com/translate_c?depth=1&hl=el&rurl=translate.google.gr&sl=ru&tl=en&u=http://www.gasnet.ru/modules.html&usg=ALkJrhhRhwqjZ7DUlyUtz-Ka8J3Cn78nVg)  http://www.gasnet.ru/i/spacer.gif [GasKit Configurator](https://translate.googleusercontent.com/translate_c?depth=1&hl=el&rurl=translate.google.gr&sl=ru&tl=en&u=http://www.gasnet.ru/gkconfigurator.html&usg=ALkJrhgU4K0Lx8pMxD62ORBs0P-0pqf3Eg)  http://www.gasnet.ru/i/spacer.gif [GasKit Dashboard](https://translate.googleusercontent.com/translate_c?depth=1&hl=el&rurl=translate.google.gr&sl=ru&tl=en&u=http://www.gasnet.ru/dashboard.html&usg=ALkJrhhe8eSmYXqC7dxAakw2tuBgYtWKeA)  http://www.gasnet.ru/i/spacer.gif [Interface blocks](https://translate.googleusercontent.com/translate_c?depth=1&hl=el&rurl=translate.google.gr&sl=ru&tl=en&u=http://www.gasnet.ru/interface_block.html&usg=ALkJrhg1la1LITmx9ERzav12-DkAMxfQjA)  http://www.gasnet.ru/i/spacer.gif [Contents of delivery](https://translate.googleusercontent.com/translate_c?depth=1&hl=el&rurl=translate.google.gr&sl=ru&tl=en&u=http://www.gasnet.ru/enclosure.html&usg=ALkJrhimtrrRC3spHBceZsY7HEhmeka5DQ)  http://www.gasnet.ru/i/spacer.gif [Supported Hardware](https://translate.googleusercontent.com/translate_c?depth=1&hl=el&rurl=translate.google.gr&sl=ru&tl=en&u=http://www.gasnet.ru/equipment.html&usg=ALkJrhjdLe-haoMdDWf_wG5frVEYKWp-Lw)  http://www.gasnet.ru/i/spacer.gif [Demoversion](https://translate.googleusercontent.com/translate_c?depth=1&hl=el&rurl=translate.google.gr&sl=ru&tl=en&u=http://www.gasnet.ru/gaskit_demo.html&usg=ALkJrhieexMZNjBt8_i0AoItTzD1iscCGg) | | http://www.gasnet.ru/i/spacer.gif http://www.gasnet.ru/i/h_line_gray.gif http://www.gasnet.ru/i/spacer.gif | | http://www.gasnet.ru/i/str_s_red.gif **[GasNet Terminal](https://translate.googleusercontent.com/translate_c?depth=1&hl=el&rurl=translate.google.gr&sl=ru&tl=en&u=http://www.gasnet.ru/gasnet_terminal.html&usg=ALkJrhjHRHJDaBLQFbXsSRk9GIg4UNHOnw)**  http://www.gasnet.ru/i/spacer.gif [GasNet Terminal Lite](https://translate.googleusercontent.com/translate_c?depth=1&hl=el&rurl=translate.google.gr&sl=ru&tl=en&u=http://www.gasnet.ru/gasnet_terminal_lite.html&usg=ALkJrhgHUXKcR06fIjcwuNaRi73sUrf5Yg)  http://www.gasnet.ru/i/spacer.gif [GasNet Terminal Std](https://translate.googleusercontent.com/translate_c?depth=1&hl=el&rurl=translate.google.gr&sl=ru&tl=en&u=http://www.gasnet.ru/gasnet_terminal_std.html&usg=ALkJrhiH2PO5jZIZMyiwu2Q2bNgWsh6WDg)  http://www.gasnet.ru/i/spacer.gif [GasNet Terminal Pro](https://translate.googleusercontent.com/translate_c?depth=1&hl=el&rurl=translate.google.gr&sl=ru&tl=en&u=http://www.gasnet.ru/gasnet_terminal_pro.html&usg=ALkJrhjn2rsPzBmpR6WlgJKI9MU3hOfHyg) | | http://www.gasnet.ru/i/spacer.gif http://www.gasnet.ru/i/h_line_gray.gif http://www.gasnet.ru/i/spacer.gif | | http://www.gasnet.ru/i/str_s_red.gif **[GasNet Office](https://translate.googleusercontent.com/translate_c?depth=1&hl=el&rurl=translate.google.gr&sl=ru&tl=en&u=http://www.gasnet.ru/gasnet_office.html&usg=ALkJrhjatC7nWU-NbPCtw0Vl4DzhqXz1hQ)**  http://www.gasnet.ru/i/spacer.gif [GasNet Fuel](https://translate.googleusercontent.com/translate_c?depth=1&hl=el&rurl=translate.google.gr&sl=ru&tl=en&u=http://www.gasnet.ru/gasnet_office_fuel.html&usg=ALkJrhjWQ2BvQ-uFgQacrNswHzwbg0Ue3w)  http://www.gasnet.ru/i/spacer.gif [GasNet Cards](https://translate.googleusercontent.com/translate_c?depth=1&hl=el&rurl=translate.google.gr&sl=ru&tl=en&u=http://www.gasnet.ru/gasnet_office_cards.html&usg=ALkJrhjNrxoDoUZNIWSdjGNJNVS-QBt-3g)  http://www.gasnet.ru/i/spacer.gif [GasNet Goods](https://translate.googleusercontent.com/translate_c?depth=1&hl=el&rurl=translate.google.gr&sl=ru&tl=en&u=http://www.gasnet.ru/gasnet_office_goods.html&usg=ALkJrhhhIDmWcM1tXBMtXnnJtLfeCjVLdg)  http://www.gasnet.ru/i/spacer.gif [Demoversion](https://translate.googleusercontent.com/translate_c?depth=1&hl=el&rurl=translate.google.gr&sl=ru&tl=en&u=http://www.gasnet.ru/gasnet_office_demo.html&usg=ALkJrhiKxh08q9wmbEfnLU_EOfaENBlAHw) | |  | | http://www.gasnet.ru/i/spacer.gif http://www.gasnet.ru/i/h_line_gray.gif http://www.gasnet.ru/i/spacer.gif | | http://www.gasnet.ru/i/str_s_red.gif [**Products**](https://translate.googleusercontent.com/translate_c?depth=1&hl=el&rurl=translate.google.gr&sl=ru&tl=en&u=http://www.gasnet.ru/products.html&usg=ALkJrhiYCwFcUB_GO4xVdmENWCLbMRi3Cw)  http://www.gasnet.ru/i/spacer.gif [Gaskit v.8.0 Lite](https://translate.googleusercontent.com/translate_c?depth=1&hl=el&rurl=translate.google.gr&sl=ru&tl=en&u=http://www.gasnet.ru/gaskit_lite.html&usg=ALkJrhjFxksGZmPDzVoNnHmisVYA_jXpXg)  http://www.gasnet.ru/i/spacer.gif [Gaskit v.8.0 Std](https://translate.googleusercontent.com/translate_c?depth=1&hl=el&rurl=translate.google.gr&sl=ru&tl=en&u=http://www.gasnet.ru/gaskit_std.html&usg=ALkJrhgNlXiWGWBHmyWrQVcJMWC1SQa7JQ)  http://www.gasnet.ru/i/spacer.gif [Gaskit v.8.0 Pro](https://translate.googleusercontent.com/translate_c?depth=1&hl=el&rurl=translate.google.gr&sl=ru&tl=en&u=http://www.gasnet.ru/gaskit_pro.html&usg=ALkJrhi-qGwge2AP3jMI8pZZPILLuzo3zg)  http://www.gasnet.ru/i/spacer.gif [Gaskit v.8.0 Automat](https://translate.googleusercontent.com/translate_c?depth=1&hl=el&rurl=translate.google.gr&sl=ru&tl=en&u=http://www.gasnet.ru/gaskit_automat.html&usg=ALkJrhjGn0wA5gOxByiceD36E_RtEXBAZg)  http://www.gasnet.ru/i/spacer.gif [Comp Pack for GasKit](https://translate.googleusercontent.com/translate_c?depth=1&hl=el&rurl=translate.google.gr&sl=ru&tl=en&u=http://www.gasnet.ru/comppack.html&usg=ALkJrhhUOgXUG6ZWqPJ820gNTgsADV7eig)  http://www.gasnet.ru/i/spacer.gif [Prog Pack for GasKit](https://translate.googleusercontent.com/translate_c?depth=1&hl=el&rurl=translate.google.gr&sl=ru&tl=en&u=http://www.gasnet.ru/progpack.html&usg=ALkJrhic321h2ef8ohDIIRGWBAi7SCLwQg)  http://www.gasnet.ru/i/spacer.gif [Trade Pack for GasKit](https://translate.googleusercontent.com/translate_c?depth=1&hl=el&rurl=translate.google.gr&sl=ru&tl=en&u=http://www.gasnet.ru/tradepack.html&usg=ALkJrhi9Rx9z37_cnwjtQhV5zAMofBhIFw) | | http://www.gasnet.ru/i/spacer.gif http://www.gasnet.ru/i/h_line_gray.gif http://www.gasnet.ru/i/spacer.gif | | http://www.gasnet.ru/i/str_s_red.gif [**Transport monitoring**](https://translate.googleusercontent.com/translate_c?depth=1&hl=el&rurl=translate.google.gr&sl=ru&tl=en&u=http://www.gasnet.ru/monitoring.html&usg=ALkJrhgHBKOTPFj60uvBqrJHwzeRrYsNUg)  http://www.gasnet.ru/i/spacer.gif [GasNet FMC System](https://translate.googleusercontent.com/translate_c?depth=1&hl=el&rurl=translate.google.gr&sl=ru&tl=en&u=http://www.gasnet.ru/gasnet_fmc.html&usg=ALkJrhg6KdHUDf_BhykVU2JjOKIQC3Y34w)  http://www.gasnet.ru/i/spacer.gif [GasNet FMC FuelTruck](https://translate.googleusercontent.com/translate_c?depth=1&hl=el&rurl=translate.google.gr&sl=ru&tl=en&u=http://www.gasnet.ru/fmc_ft.html&usg=ALkJrhj_gPnqRc6FXe43tRuVgWmQcfK6tQ)  http://www.gasnet.ru/i/spacer.gif [GasNet FMC PressurePro](https://translate.googleusercontent.com/translate_c?depth=1&hl=el&rurl=translate.google.gr&sl=ru&tl=en&u=http://www.gasnet.ru/fmc_pp.html&usg=ALkJrhhzqNPKN2W4LUV_de9xjtSfXxJm-A)  http://www.gasnet.ru/i/spacer.gif [Installation files](https://translate.googleusercontent.com/translate_c?depth=1&hl=el&rurl=translate.google.gr&sl=ru&tl=en&u=http://www.gasnet.ru/fmc_install.html&usg=ALkJrhgio-Ctl68B-3uDTHmJocHE-FnF6w) | | http://www.gasnet.ru/i/spacer.gif http://www.gasnet.ru/i/h_line_gray.gif http://www.gasnet.ru/i/spacer.gif | | http://www.gasnet.ru/i/str_s_red.gif [**affiliate program**](https://translate.googleusercontent.com/translate_c?depth=1&hl=el&rurl=translate.google.gr&sl=ru&tl=en&u=http://www.gasnet.ru/partners.html&usg=ALkJrhjh_kW_IXBy77TxwX7ITZnGGe1fCg)  http://www.gasnet.ru/i/spacer.gif [Conference GasNet](https://translate.googleusercontent.com/translate_c?depth=1&hl=el&rurl=translate.google.gr&sl=ru&tl=en&u=http://www.gasnet.ru/GasNetConference2012.html&usg=ALkJrhjkU0XdUZAUTdnTXais8KAkv38__Q)  http://www.gasnet.ru/i/spacer.gif [Education](https://translate.googleusercontent.com/translate_c?depth=1&hl=el&rurl=translate.google.gr&sl=ru&tl=en&u=http://www.gasnet.ru/education.html&usg=ALkJrhjIcx4t9B3NPric6xyPueIbCTrQWA)  http://www.gasnet.ru/i/spacer.gif [Online-testing](https://translate.googleusercontent.com/translate_c?depth=1&hl=el&rurl=translate.google.gr&sl=ru&tl=en&u=http://www.gasnet.ru/onlinetest.html&usg=ALkJrhgYyBX2qXm7TypRf9gCNoIEG8jANw)  http://www.gasnet.ru/i/spacer.gif [Webinars](https://translate.googleusercontent.com/translate_c?depth=1&hl=el&rurl=translate.google.gr&sl=ru&tl=en&u=http://www.gasnet.ru/webinar.html&usg=ALkJrhgnbvHZvXZZdoqxX3WCQcHwpZq2uA)  http://www.gasnet.ru/i/spacer.gif [Rewards](https://translate.googleusercontent.com/translate_c?depth=1&hl=el&rurl=translate.google.gr&sl=ru&tl=en&u=http://www.gasnet.ru/partners_bonus.html&usg=ALkJrhggfD25J_cHsxGstO-4goXf0kzNpQ)  http://www.gasnet.ru/i/spacer.gif [Our banners](https://translate.googleusercontent.com/translate_c?depth=1&hl=el&rurl=translate.google.gr&sl=ru&tl=en&u=http://www.gasnet.ru/banner.html&usg=ALkJrhjM8aSYFhMQCewLerouSfuJbF81ng) | | http://www.gasnet.ru/i/spacer.gif http://www.gasnet.ru/i/h_line_gray.gif http://www.gasnet.ru/i/spacer.gif | | http://www.gasnet.ru/i/banner_partners_trio.gif | | http://www.gasnet.ru/i/spacer.gif | |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | | [To main](https://translate.googleusercontent.com/translate_c?depth=1&hl=el&rurl=translate.google.gr&sl=ru&tl=en&u=http://www.gasnet.ru/index.html&usg=ALkJrhhNyFlN4LCGvb2jqwAVdo0EFypFKw) | http://www.gasnet.ru/i/v_line_gray.gif | [prices](https://translate.googleusercontent.com/translate_c?depth=1&hl=el&rurl=translate.google.gr&sl=ru&tl=en&u=http://www.gasnet.ru/prices.html&usg=ALkJrhjVifHAtlgtDBUzVO1r20XkYyR4Dw) | http://www.gasnet.ru/i/v_line_gray.gif | [how to buy](https://translate.googleusercontent.com/translate_c?depth=1&hl=el&rurl=translate.google.gr&sl=ru&tl=en&u=http://www.gasnet.ru/howtobuy.html&usg=ALkJrhirs3dCzdmwrgJvI8JLkwXOONCPPA) | http://www.gasnet.ru/i/v_line_gray.gif | [resources](https://translate.googleusercontent.com/translate_c?depth=1&hl=el&rurl=translate.google.gr&sl=ru&tl=en&u=http://www.gasnet.ru/resources.html&usg=ALkJrhgPCpzp72lvRrdOqdIkPhnK6gy4cw) | http://www.gasnet.ru/i/v_line_gray.gif | [Support](https://translate.googleusercontent.com/translate_c?depth=1&hl=el&rurl=translate.google.gr&sl=ru&tl=en&u=http://www.gasnet.ru/support.html&usg=ALkJrhgW8olVvArgEZYgEQNbapF-T6-deg) | http://www.gasnet.ru/i/v_line_gray.gif | [forum](https://translate.googleusercontent.com/translate_c?depth=1&hl=el&rurl=translate.google.gr&sl=ru&tl=en&u=http://www.gasnet.ru/forum/index.php&usg=ALkJrhhUP-lQ_g2RjgVaRtJ-TkekZQ2RpQ) | http://www.gasnet.ru/i/v_line_gray.gif | [Partners](https://translate.googleusercontent.com/translate_c?depth=1&hl=el&rurl=translate.google.gr&sl=ru&tl=en&u=http://www.gasnet.ru/partners.html&usg=ALkJrhjh_kW_IXBy77TxwX7ITZnGGe1fCg) | http://www.gasnet.ru/i/v_line_gray.gif | [about us](https://translate.googleusercontent.com/translate_c?depth=1&hl=el&rurl=translate.google.gr&sl=ru&tl=en&u=http://www.gasnet.ru/about_us.html&usg=ALkJrhjnhg0HSgDuMwP1HupClldlN7pVDQ) | | http://www.gasnet.ru/i/spacer.gif | | | | | | | | | | | | | | |  |  |  |  | | --- | --- | --- | | Automation systems, filling stations | http://www.gasnet.ru/i/spacer.gif | Gas station management system interacts with various technological and commercial equipment gas station. | | http://www.gasnet.ru/i/h_line_gray.gif | | Αρχή φόρμας   |  |  | | --- | --- | | Search: |  |   Τέλος φόρμας |  |  | | --- | | http://www.gasnet.ru/i/spacer.gif | | Gas station equipment, supported by a system GasKit | | http://www.gasnet.ru/i/spacer.gif | | |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | | **Connect the dispenser to the control system ADAST Filling stations GasKit**  **GasKit** gas station management system supports the dispenser ADAST, controllers equipped with ADP1 / 2, ADP1 / M, ADP2 / M, ADPMPD and ADPMPD / M (producer - company BetaControl).  Management of these controllers is performed via RS485 interface (2-wire), logical protocol Easycall.  The package management system for fuel dispensers ADAST **GasKit** included interface card CP-132UL-I and CP-132I with two ports RS485. Each port has optical isolation and surge protection. Each port can be connected to the 32 posts (this restriction protocol Easycall).Theoretically, all the dispenser located at the gas station, you can connect to one of the ports.But in order to increase reliability and reduce the level of noise, we recommend all fuel dispensers at filling stations divided into two groups and each group connected through a port RS485.  Sometimes you need to use a noise reduction termination resistors. This usually denominated resistors of 120 ohms, which are installed in the vicinity of the line terminals.  Connect each group of TRC to the card CP-132UL-I (CP-132I) through connectors DB9 (F), which are also included in the delivery.  Numbers of contacts to connect CP-132UL-I to different controllers.   |  |  |  |  |  |  | | --- | --- | --- | --- | --- | --- | | **Signals** | **CP-132UL-I**  **(CP-132I)** | **ADP1**  **ADP2** | **ADP1 / M**  **ADP2 / M** | **ADPMPD** | **ADPMPD / M** | | **DATA + (B)** | DB9: 3 (2) | X14: 3 | X10: 2 | X11: 23 | X11: 2 | | **DATA- (A)** | DB9: 4 (1) | X14: 2 | X10: 1 | X11: 22 | X11: 1 |   On the interface card must be correctly set DIP-switches for mode RS485 (2-wire) using ADDC (Automatic Data Direction Control).   |  |  |  |  | | --- | --- | --- | --- | |  | **Setting the DIP-switches** | | Driving | | **S1** | **S2** | | **RS485**  **(2-wire)** | ON | ON | http://www.gasnet.ru/i/equipment/connection/11.jpg |   http://www.gasnet.ru/i/equipment/connection/18.jpg  http://www.gasnet.ru/i/equipment/connection/19.jpg  **Setting ADAST dispensers for petrol station management system GasKit**  To communicate between the control system and the fuel dispenser ADAST **GasKit** must program specific parameters in the SEC. Programming is performed using the dispenser service keyboard.  Necessary conditions for the transition mode settings:   1. Since the last turn on the handheld dispenser gun is not shot. 2. Completed transaction to be confirmed.   Appearance service remote working via infrared:  http://www.gasnet.ru/i/equipment/connection/12.jpg  Procedure for programming TRK:   1. Click on the service panel "S" key during the delay after switching on or after this delay, but before removing the gun.   http://www.gasnet.ru/i/equipment/connection/13.jpg  In the first line of the display (row total cost) will show "PArAPS" and the third line (the line of unit price) - the software version number.   1. When you press the "0" line displays the value of the volume, and in the line of unit price "P-" and parameter number.   http://www.gasnet.ru/i/equipment/connection/14.jpg  If you press "0" sequentially through the list of parameters.   1. By pressing the "+" to increase the value displayed, pressing "-" decreases the value of the displayed parameter. 2. When you press "0" to confirm the current display value and make the transition to the next parameter. 3. The "settings" is terminated by pressing the "S".   Parameter List TRK affecting the relationship between the TRC and the system GasKit:   |  |  |  |  |  | | --- | --- | --- | --- | --- | | **Number of pairs Mr.** | **Description** | **The range of values** | **Factory setting** | **The required** | | 1 | Address refueling post (the side column A).  The address of each post must be unique in this filling station. A value of 0 means that the post does not exist. | 0-32 | 1 | **\*** | | 2 | Address refueling post (the side column B).  The address of each post must be unique in this filling station. A value of 0 means that the post does not exist. | 0-32 | 2 | **\*** | | 51 | Switching between AUTO / MAN:  0 - automatic mode (only control the release of oil through the filling station control system);  1 - Manual (delivery of petroleum products when removing the gun). | 0-1 | 0 | **0** | | 57 | Speed ​​of communication:  0 - 9600 baud;  1 - transmission rate of 19200 bps. | 0-1 | 0 | **0** |   Note:  \* - It is recommended to set the address equal to the number of fasting filling the post.  **System Configuration Management GasKit**  When setting up the system GasKit you must set the following parameters:  1.  To control channels TRK:   * Number of COM-port that is connected to the dispenser (Group TRK). * The connection speed with TRC (9600 or 19200). It depends on the configuration set in the dispenser. * Echo missing. * Type created channel "Adast".   http://www.gasnet.ru/i/equipment/connection/15.jpg  2.  For the parameters of the post:   * Address fast SEC. Addresses must comply with the set parameters for programming the dispenser. * Option 1 - divisor of the total value of electronic counter obtained from the SEC. A positive integer, which depends on the type of dispenser. If the dispenser returns the counter value in hundredths of a liter, the divider value must be equal to 1. If the dispenser returns the value of the counter in thousandths of a liter, then 10, etc.  The parameter value can be determined by comparing the counter values ​​are displayed on the dispenser and the control system. * Option 2 - determines whether the SEC survey of electronic meters. It depends on the software version of the dispenser. It can take one of the following:   + Polling electronic meters - SEC maintains the survey of electronic meters.   + Without a survey of electronic meters - SEC does not support polling electronic meters.   http://www.gasnet.ru/i/equipment/connection/16.jpg  [**You can ask a question in our forum**](https://translate.googleusercontent.com/translate_c?depth=1&hl=el&rurl=translate.google.gr&sl=ru&tl=en&u=http://www.gasnet.ru/phpBB2/viewtopic.php%3Ft%3D4860&usg=ALkJrhjL0Hg8ECeggotLnF5ytXnngBgQZA) | | | http://www.gasnet.ru/i/spacer.gif |
| Filling stations equipment | |  |  |  | | --- | --- | --- | | http://www.gasnet.ru/i/spacer.gif |  | | |  | **JSC "Horis"**  **Department of Automation gas station**   St. Petersburg | | |  | Tel .: | +7 (812) 324 7202 | |  | Fax: | +7 (812) 324 7203 | |  | -Mail E: [**gasnet@horis.ru**](mailto:gasnet@horis.ru)  WWW: [**www.gasnet.ru**](https://translate.googleusercontent.com/translate_c?depth=1&hl=el&rurl=translate.google.gr&sl=ru&tl=en&u=http://www.gasnet.ru/&usg=ALkJrhiAPH6Pmoz5ktVNBirbZ2CE0-FRaA) | | | http://www.gasnet.ru/i/spacer.gif |  |  | | Filling stations equipment | Filling stations equipment |
| Filling stations equipment | http://www.gasnet.ru/i/spacer.gif | http://www.gasnet.ru/i/spacer.gif | http://www.gasnet.ru/i/spacer.gif | http://www.gasnet.ru/i/spacer.gif |
| Filling stations equipment | |  |  | | --- | --- | | © 2004-2015, JSC "Horis"  All rights reserved. | [http://www.gasnet.ru/i/str_up.gif](https://translate.googleusercontent.com/translate_c?depth=1&hl=el&rurl=translate.google.gr&sl=ru&tl=en&u=http://www.gasnet.ru/adast.html&usg=ALkJrhia1IIi7Ty7OyLn3KGEeACXuJHW7w#top) | | http://www.gasnet.ru/i/spacer.gif | |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | | [To main](https://translate.googleusercontent.com/translate_c?depth=1&hl=el&rurl=translate.google.gr&sl=ru&tl=en&u=http://www.gasnet.ru/index.html&usg=ALkJrhhNyFlN4LCGvb2jqwAVdo0EFypFKw) | http://www.gasnet.ru/i/v_line_gray.gif | [prices](https://translate.googleusercontent.com/translate_c?depth=1&hl=el&rurl=translate.google.gr&sl=ru&tl=en&u=http://www.gasnet.ru/prices.html&usg=ALkJrhjVifHAtlgtDBUzVO1r20XkYyR4Dw) | http://www.gasnet.ru/i/v_line_gray.gif | [how to buy](https://translate.googleusercontent.com/translate_c?depth=1&hl=el&rurl=translate.google.gr&sl=ru&tl=en&u=http://www.gasnet.ru/howtobuy.html&usg=ALkJrhirs3dCzdmwrgJvI8JLkwXOONCPPA) | http://www.gasnet.ru/i/v_line_gray.gif | [resources](https://translate.googleusercontent.com/translate_c?depth=1&hl=el&rurl=translate.google.gr&sl=ru&tl=en&u=http://www.gasnet.ru/resources.html&usg=ALkJrhgPCpzp72lvRrdOqdIkPhnK6gy4cw) | http://www.gasnet.ru/i/v_line_gray.gif | [Support](https://translate.googleusercontent.com/translate_c?depth=1&hl=el&rurl=translate.google.gr&sl=ru&tl=en&u=http://www.gasnet.ru/support.html&usg=ALkJrhgW8olVvArgEZYgEQNbapF-T6-deg) | http://www.gasnet.ru/i/v_line_gray.gif | [forum](https://translate.googleusercontent.com/translate_c?depth=1&hl=el&rurl=translate.google.gr&sl=ru&tl=en&u=http://www.gasnet.ru/forum/index.php&usg=ALkJrhhUP-lQ_g2RjgVaRtJ-TkekZQ2RpQ) | http://www.gasnet.ru/i/v_line_gray.gif | [Partners](https://translate.googleusercontent.com/translate_c?depth=1&hl=el&rurl=translate.google.gr&sl=ru&tl=en&u=http://www.gasnet.ru/partners.html&usg=ALkJrhjh_kW_IXBy77TxwX7ITZnGGe1fCg) | http://www.gasnet.ru/i/v_line_gray.gif | [about us](https://translate.googleusercontent.com/translate_c?depth=1&hl=el&rurl=translate.google.gr&sl=ru&tl=en&u=http://www.gasnet.ru/about_us.html&usg=ALkJrhjnhg0HSgDuMwP1HupClldlN7pVDQ) | | http://www.gasnet.ru/i/spacer.gif | http://www.gasnet.ru/i/spacer.gif | http://www.gasnet.ru/i/spacer.gif | http://www.gasnet.ru/i/spacer.gif | http://www.gasnet.ru/i/spacer.gif | http://www.gasnet.ru/i/spacer.gif | http://www.gasnet.ru/i/spacer.gif | http://www.gasnet.ru/i/spacer.gif | http://www.gasnet.ru/i/spacer.gif | http://www.gasnet.ru/i/spacer.gif | http://www.gasnet.ru/i/spacer.gif | http://www.gasnet.ru/i/spacer.gif | http://www.gasnet.ru/i/spacer.gif | http://www.gasnet.ru/i/spacer.gif | http://www.gasnet.ru/i/spacer.gif | | http://www.gasnet.ru/i/spacer.gif |
| http://www.gasnet.ru/i/spacer.gif |  | http://www.gasnet.ru/i/spacer.gif |